## HA SAEARs
Human Application – Serious Adverse Events closed in Q1 2025/26 – Details
Licence Number | Organisation | Case Number | Process Event Linked To | Description of Event
11052 | The London Clinic | CAS-74091-G7G0 | Procurement | Positivity sterility on procured product
11018 | NHSBT Liverpool | CAS-74172-D5D8 | Distribution | Incorrect distribution of tissue
22505 | Chapel Allerton Hospital | CAS-73981-D7S7 | Processing | Tissue deemed not suitable for use
22505 | Chapel Allerton Hospital | CAS-73005-V4B2 | Processing | Tissue deemed not suitable for use
22518 | NHSBT Bristol | CAS-74408-F4H2 | Processing | Unsuitable tissue distributed
22513 | Anthony Nolan | CAS-70022-V1H2 | Procurement | Positive sterility on procured product.
11052 | The London Clinic | CAS-73127-J7Q0 | Procurement | Positive sterility on procured product
11001 | Royal Marsden Hospital | CAS-72443-B7M7 | Testing | Day of collection sample seropositive for non-mandatory disease marker.
11001 | Royal Marsden Hospital | CAS-72360-Q3C1 | Procurement | Positive sterility on procured product
11052 | The London Clinic | CAS-74458-D5L1 | Procurement | Positive sterility result in procured unit
22497 | Welsh Blood Service | CAS-74462-F8Q2 | Procurement | Positive sterility result in procured unit
11065 | Gartnavel General Hospital | CAS-69978-J8D3 | Procurement | Positive sterility in procured product
22681 | NHSBT Barnsley | CAS-70853-F8K6 | Procurement | Positive sterility in procured product
11025 | University College London Hospitals | CAS-68973-D8L3 | Procurement | Clots noted in stem cells received via a registry
22513 | Anthony Nolan | CAS-68984-C7R7 | Procurement | Transplant centre reported clots in stem cells
11001 | Royal Marsden Hospital | CAS-72104-M3S8 | Procurement | Units disposed due to equipment issues
11001 | Royal Marsden Hospital | CAS-72250-F7P8 | Procurement | Unit disposed due to equipment issues
11052 | The London Clinic | CAS-74662-Y3Z7 | Procurement | Positive sterility in procured unit
22518 | NHSBT Bristol | CAS-70875-T4Y7 | Procurement | Positive sterility pre- and post-processing
11118 | Hammersmith Hospital | CAS-71405-X7F1 | Processing | Positive sterility result post-processing.
11018 | NHSBT Liverpool | CAS-72025-G0W3 | Processing | Unsuitable tissue distributed.
22518 | NHSBT Bristol | CAS-72031-V7D8 | Testing | Incomplete sterility tests undertaken on issued tissue
22518 | NHSBT Bristol | CAS-72945-P9W7 | Procurement | Positive sterility
11024 | BCH Stem Cell Bank | CAS-73703-Y6W3 | Procurement | Unnecessary procurement
11006 | King's College Hospital | CAS-73244-T2Y4 | Processing | Loss of cells due to procedure not followed.
11042 | SCI Oxford | CAS-73269-C8C7 | Procurement | Positive sterility.
11025 | University College London Hospitals | CAS-71708-D8P9 | Storage | Loss of cells.
22513 | Anthony Nolan | CAS-71876-Q3N0 | Procurement | Damage to bag resulted in leak of a unit.
11001 | Royal Marsden Hospital | CAS-73609-M7N3 | Processing | Cells disposed due to positive sterility.
22513 | Anthony Nolan | CAS-72353-S3L6 | Storage | Cells disposed due to procedure not being followed.
22681 | NHSBT Barnsley | CAS-72482-N4T7 | Procurement | Positive sterility.
22681 | NHSBT Barnsley | CAS-70460-Z2L3 | Processing | Positive sterility
11118 | Hammersmith Hospital | CAS-72787-V9W5 | Procurement | Positive sterility
11001 | Royal Marsden Hospital | CAS-65681-D1R3 | Testing | Error during sample testing
22513 | Anthony Nolan | CAS-71998-J5B9 | Procurement | Positive microbiology on procured unit
22662 | Joint Operations Limited | CAS-72822-X4Q7 | Processing | Loss of a tissue graft due to a defective seal
22513 | Anthony Nolan | CAS-73697-P8H9 | Processing | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-72788-H1J3 | Procurement | Positive sterility result
22513 | Anthony Nolan | CAS-72410-F4X1 | Testing | Day of collection sample seropositive for non-mandatory disease marker
11018 | NHSBT Liverpool | CAS-72779-Z6C8 | Processing | Positive Sterility result
11081 | The Christie | CAS-70855-V9B9 | Processing | Positive sterility result
22513 | Anthony Nolan | CAS-69493-X3C1 | Procurement | Positive sterility result
22513 | Anthony Nolan | CAS-72374-F6N5 | Testing | Day of collection sample seropositive for non-mandatory disease marker
11118 | Hammersmith Hospital | CAS-69441-Y2L6 | Procurement | Positive sterility result
11052 | The London Clinic | CAS-71938-B6H5 | Procurement | Damage to bag resulted in leak of a unit
11026 | Great Ormond Street Hospital | CAS-73429-L4P2 | Processing | Loss of tissue
11026 | Great Ormond Street Hospital | CAS-70610-G8H4 | Distribution | Incorrect release of unit
11006 | King's College Hospital | CAS-72064-T3S6 | Processing | Equipment failure
11052 | The London Clinic | CAS-71990-K2Q5 | Procurement | Positive microbiology on procured unit
11006 | King's College Hospital | CAS-70584-L3B8 | Transportation | Cells transported outside validate parameter